Components:

## 1. PM2.5 GP2Y1010AU0F:

| S.no. | Sensor | Connections |
| --- | --- | --- |
| 1. | V-LED | 5V External Power Supply (with 150 ohm resistor) |
| 2. | LED-GND | Common ground |
| 3. | LED | ESP-32 GPIO pin |
| 4. | S-GND | Common ground |
| 5. | Vo | ESP-32 GPIO pin |
| 6. | VCC | 5V External Power Supply |

INPUT CONDITION FOR LED INPUT TERMINAL (fig 1. from datasheet)

Characteristics:

| Parameter | Symbol | Min | Avg | Max | Unit |
| --- | --- | --- | --- | --- | --- |
| LED current | ILED | — | 10 | 20 | mA |
| Consumption Current | ICC | — | 11 | 20 | mA |
| Sensitivity | K | 0.35 | 0.5 | 0.65 | V/(0.1mg/m3) |
| Output voltage at no dust | VOC | 0 | 0.9 | 1.5 | V |

## 2. MQ-135 Gas Sensor:

| S.no. | Sensor | Connections |
| --- | --- | --- |
| 1. | VCC | 5V external power |
| 2. | GND | Common Ground |
| 3. | DO (Digital output) | NIL |
| 4. | AO (Analog output) | ESP-32 GPIO |